## Sheet1
分類/項目名 |  |  |  | 内部識別子 | 選択要素 | 規定値 | 最小値 | 最大値 | 型 | 小数点以下 | 単位 | 備考 | ケース1
建物情報 | 地域の区分 |  |  | building_region | 1: 1地域 2: 2地域 3: 3地域 4: 4地域 5: 5地域 6: 6地域 7: 7地域 8: 8地域 | 6 | 1 | 8 | short | － | － |  | 6
| 建物の構造 |  |  | building_structure | 1: Wood 2: S 3: RC | 3 | 1 | 3 | short | － | － |  | 3
| 建物の階数 |  |  | building_levels_number | － | 3 | 1 | 100 | short | － | － |  | 3
| 建物の高さ |  |  | building_height | － | 9.1 | 0.0 | 500.0 | decimal | 1 | m |  | 9.0
| 主開口部の方位 |  |  | building_opening_main_direction | 1: S 2: SW 3: W 4: NW 5: N 6: NE 7: E 8: SE | 1 | 1 | 8 | short | － | － |  | 1
専有部 | 各階の住戸数 |  | 1階 | private_house_number [1] | － | 4 | 1 | 99 | short | － | － |  | 4
|  |  | 2階 | private_house_number [2] | － | 4 | 1 | 99 | short | － | － |  | 4
|  |  | 3階 | private_house_number [3] | － | 4 | 1 | 99 | short | － | － |  | 4
| 各階の床面積の合計 |  | 1階 | private_floor_area [1] | － | 162.64 | 0.00 | 99999.99 | decimal | 2 | m2 |  | 160.00
|  |  | 2階 | private_floor_area [2] | － | 162.64 | 0.00 | 99999.99 | decimal | 2 | m2 |  | 160.00
|  |  | 3階 | private_floor_area [3] | － | 162.64 | 0.00 | 99999.99 | decimal | 2 | m2 |  | 160.00
| 各階の外周長 | 外気と接する部分 | 1階 | private_peri_length_outside [1] | － | 66.56 | 0.00 | 999.99 | decimal | 2 | m |  | 52.00
|  |  | 2階 | private_peri_length_outside [2] | － | 66.56 | 0.00 | 999.99 | decimal | 2 | m |  | 52.00
|  |  | 3階 | private_peri_length_outside [3] | － | 66.56 | 0.00 | 999.99 | decimal | 2 | m |  | 52.00
| 各階の窓面積の合計 |  | 1階 | private_window_area [1] | － | 30.48 | 0.00 | 9999.99 | decimal | 2 | m2 |  | 30.00
|  |  | 2階 | private_window_area [2] | － | 30.64 | 0.00 | 9999.99 | decimal | 2 | m2 |  | 30.00
|  |  | 3階 | private_window_area [3] | － | 30.64 | 0.00 | 9999.99 | decimal | 2 | m2 |  | 30.00
| 各階の屋根面積の合計 |  | 1階 | private_roof_area [1] | － | 0.00 | 0.00 | 99999.99 | decimal | 2 | m2 | 最上階の値は無視される | 0.00
|  |  | 2階 | private_roof_area [2] | － | 0.00 | 0.00 | 99999.99 | decimal | 2 | m2 | 最上階の値は無視される | 0.00
|  |  | 3階 | private_roof_area [3] | － | 0.00 | 0.00 | 99999.99 | decimal | 2 | m2 | 最上階の値は無視される | 0.00
| 各階の外気床の面積の合計 |  | 1階 | private_outside_floor_area [1] | － | 0.00 | 0.00 | 99999.99 | decimal | 2 | m2 | 最下階の値は無視される | 0.00
|  |  | 2階 | private_outside_floor_area [2] | － | 0.00 | 0.00 | 99999.99 | decimal | 2 | m2 | 最下階の値は無視される | 0.00
|  |  | 3階 | private_outside_floor_area [3] | － | 0.00 | 0.00 | 99999.99 | decimal | 2 | m2 | 最下階の値は無視される | 0.00
| 外壁 | 熱貫流率(U値) |  | private_wall_U_value | － | 0.785 | 0.000 | 9.999 | decimal | 3 | W/m2K |  | 0.785
|  | 断熱位置 |  | private_wall_ins_pos | 1: inside 2: outside 3: none | 1 | 1 | 3 | short | 1 | － |  | 1
|  | 断熱補強の仕様 |  | private_wall_HB_spec | 1: spec1 2: spec2 3: not 4: ND | 1 | 1 | 4 | short | 1 | － |  | 1
| 屋根 | 熱貫流率(U値) |  | private_roof_U_value | － | 0.417 | 0.000 | 9.999 | decimal | 3 | W/m2K |  | 0.417
|  | 断熱位置 |  | private_roof_ins_pos | 1: inside 2: outside 3: none | 2 | 1 | 3 | short | 1 | － |  | 2
|  | 断熱補強の仕様 |  | private_roof_HB_spec | 1: spec1 2: spec2 3: not 4: ND | 1 | 1 | 4 | short | 1 | － |  | 1
| 外気床 | 熱貫流率(U値) |  | private_floor_U_value | － | 0.507 | 0.000 | 9.999 | decimal | 3 | W/m2K |  | 0.507
|  | 断熱位置 |  | private_floor_ins_pos | 1: inside 2: outside 3: none | 2 | 1 | 3 | short | 1 | － |  | 2
|  | 断熱補強の仕様 |  | private_floor_HB_spec | 1: spec1 2: spec2 3: not 4: ND | 1 | 1 | 4 | short | 1 | － |  | 1
| 界壁 | 熱貫流率(U値) |  | private_inside_wall_U_value | － | 2.340 | 0.000 | 9.999 | decimal | 3 | W/m2K |  | 2.340
| 界床 | 熱貫流率(U値) |  | private_inside_floor_U_value | － | 1.796 | 0.000 | 9.999 | decimal | 3 | W/m2K |  | 1.796
| 窓 | 熱貫流率(U値) |  | private_window_U_value | － | 4.650 | 0.000 | 9.999 | decimal | 3 | W/m2K |  | 4.650
|  | 日射熱取得率(η値) |  | private_window_eta_value | － | 0.79 | 0.00 | 1.00 | decimal | 2 | － |  | 0.79
住戸 | 屋根面積 |  | 1-1 | house_roof [1-1] | [6 empty] | m2
|  |  | 1-2 | house_roof [1-2] | [6 empty] | m2
|  |  | 1-3 | house_roof [1-3] | [6 empty] | m2
|  |  | 1-4 | house_roof [1-4] | [6 empty] | m2
|  |  | 2-1 | house_roof [2-1] | [6 empty] | m2
|  |  | 2-2 | house_roof [2-2] | [6 empty] | m2
|  |  | 2-3 | house_roof [2-3] | [6 empty] | m2
|  |  | 2-4 | house_roof [2-4] | [6 empty] | m2
|  |  | 3-1 | house_roof [3-1] | [6 empty] | m2
|  |  | 3-2 | house_roof [3-2] | [6 empty] | m2
|  |  | 3-3 | house_roof [3-3] | [6 empty] | m2
|  |  | 3-4 | house_roof [3-4] | [6 empty] | m2
| 外気床面積 |  | 1-1 | house_outside_floor [1-1] | [6 empty] | m2
|  |  | 1-2 | house_outside_floor [1-2] | [6 empty] | m2
|  |  | 1-3 | house_outside_floor [1-3] | [6 empty] | m2
|  |  | 1-4 | house_outside_floor [1-4] | [6 empty] | m2
|  |  | 2-1 | house_outside_floor [2-1] | [6 empty] | m2
|  |  | 2-2 | house_outside_floor [2-2] | [6 empty] | m2
|  |  | 2-3 | house_outside_floor [2-3] | [6 empty] | m2
|  |  | 2-4 | house_outside_floor [2-4] | [6 empty] | m2
|  |  | 3-1 | house_outside_floor [3-1] | [6 empty] | m2
|  |  | 3-2 | house_outside_floor [3-2] | [6 empty] | m2
|  |  | 3-3 | house_outside_floor [3-3] | [6 empty] | m2
|  |  | 3-4 | house_outside_floor [3-4] | [6 empty] | m2
| 界壁面積 |  | 1-1 | house_inside_wall [1-1] | [6 empty] | m2
|  |  | 1-2 | house_inside_wall [1-2] | [6 empty] | m2
|  |  | 1-3 | house_inside_wall [1-3] | [6 empty] | m2
|  |  | 1-4 | house_inside_wall [1-4] | [6 empty] | m2
|  |  | 2-1 | house_inside_wall [2-1] | [6 empty] | m2
|  |  | 2-2 | house_inside_wall [2-2] | [6 empty] | m2
|  |  | 2-3 | house_inside_wall [2-3] | [6 empty] | m2
|  |  | 2-4 | house_inside_wall [2-4] | [6 empty] | m2
|  |  | 3-1 | house_inside_wall [3-1] | [6 empty] | m2
|  |  | 3-2 | house_inside_wall [3-2] | [6 empty] | m2
|  |  | 3-3 | house_inside_wall [3-3] | [6 empty] | m2
|  |  | 3-4 | house_inside_wall [3-4] | [6 empty] | m2
| 界床面積 |  | 1-1 | house_inside_floor [1-1] | [6 empty] | m2
|  |  | 1-2 | house_inside_floor [1-2] | [6 empty] | m2
|  |  | 1-3 | house_inside_floor [1-3] | [6 empty] | m2
|  |  | 1-4 | house_inside_floor [1-4] | [6 empty] | m2
|  |  | 2-1 | house_inside_floor [2-1] | [6 empty] | m2
|  |  | 2-2 | house_inside_floor [2-2] | [6 empty] | m2
|  |  | 2-3 | house_inside_floor [2-3] | [6 empty] | m2
|  |  | 2-4 | house_inside_floor [2-4] | [6 empty] | m2
|  |  | 3-1 | house_inside_floor [3-1] | [6 empty] | m2
|  |  | 3-2 | house_inside_floor [3-2] | [6 empty] | m2
|  |  | 3-3 | house_inside_floor [3-3] | [6 empty] | m2
|  |  | 3-4 | house_inside_floor [3-4] | [6 empty] | m2
| 界天井 |  | 1-1 | house_inside_ceiling [1-1] | [6 empty] | m2
|  |  | 1-2 | house_inside_ceiling [1-2] | [6 empty] | m2
|  |  | 1-3 | house_inside_ceiling [1-3] | [6 empty] | m2
|  |  | 1-4 | house_inside_ceiling [1-4] | [6 empty] | m2
|  |  | 2-1 | house_inside_ceiling [2-1] | [6 empty] | m2
|  |  | 2-2 | house_inside_ceiling [2-2] | [6 empty] | m2
|  |  | 2-3 | house_inside_ceiling [2-3] | [6 empty] | m2
|  |  | 2-4 | house_inside_ceiling [2-4] | [6 empty] | m2
|  |  | 3-1 | house_inside_ceiling [3-1] | [6 empty] | m2
|  |  | 3-2 | house_inside_ceiling [3-2] | [6 empty] | m2
|  |  | 3-3 | house_inside_ceiling [3-3] | [6 empty] | m2
|  |  | 3-4 | house_inside_ceiling [3-4] | [6 empty] | m2
| 床下床面積 |  | 1-1 | house_crawl_space_floor [1-1] | [6 empty] | m2
|  |  | 1-2 | house_crawl_space_floor [1-2] | [6 empty] | m2
|  |  | 1-3 | house_crawl_space_floor [1-3] | [6 empty] | m2
|  |  | 1-4 | house_crawl_space_floor [1-4] | [6 empty] | m2
|  |  | 2-1 | house_crawl_space_floor [2-1] | [6 empty] | m2
|  |  | 2-2 | house_crawl_space_floor [2-2] | [6 empty] | m2
|  |  | 2-3 | house_crawl_space_floor [2-3] | [6 empty] | m2
|  |  | 2-4 | house_crawl_space_floor [2-4] | [6 empty] | m2
|  |  | 3-1 | house_crawl_space_floor [3-1] | [6 empty] | m2
|  |  | 3-2 | house_crawl_space_floor [3-2] | [6 empty] | m2
|  |  | 3-3 | house_crawl_space_floor [3-3] | [6 empty] | m2
|  |  | 3-4 | house_crawl_space_floor [3-4] | [6 empty] | m2
| 窓面積 | 主方位+0 | 1-1 | house_window_area_D0 [1-1] | [6 empty] | m2
|  |  | 1-2 | house_window_area_D0 [1-2] | [6 empty] | m2
|  |  | 1-3 | house_window_area_D0 [1-3] | [6 empty] | m2
|  |  | 1-4 | house_window_area_D0 [1-4] | [6 empty] | m2
|  |  | 2-1 | house_window_area_D0 [2-1] | [6 empty] | m2
|  |  | 2-2 | house_window_area_D0 [2-2] | [6 empty] | m2
|  |  | 2-3 | house_window_area_D0 [2-3] | [6 empty] | m2
|  |  | 2-4 | house_window_area_D0 [2-4] | [6 empty] | m2
|  |  | 3-1 | house_window_area_D0 [3-1] | [6 empty] | m2
|  |  | 3-2 | house_window_area_D0 [3-2] | [6 empty] | m2
|  |  | 3-3 | house_window_area_D0 [3-3] | [6 empty] | m2
|  |  | 3-4 | house_window_area_D0 [3-4] | [6 empty] | m2
|  | 主方位+90 | 1-1 | house_window_area_D90 [1-1] | [6 empty] | m2
|  |  | 1-2 | house_window_area_D90 [1-2] | [6 empty] | m2
|  |  | 1-3 | house_window_area_D90 [1-3] | [6 empty] | m2
|  |  | 1-4 | house_window_area_D90 [1-4] | [6 empty] | m2
|  |  | 2-1 | house_window_area_D90 [2-1] | [6 empty] | m2
|  |  | 2-2 | house_window_area_D90 [2-2] | [6 empty] | m2
|  |  | 2-3 | house_window_area_D90 [2-3] | [6 empty] | m2
|  |  | 2-4 | house_window_area_D90 [2-4] | [6 empty] | m2
|  |  | 3-1 | house_window_area_D90 [3-1] | [6 empty] | m2
|  |  | 3-2 | house_window_area_D90 [3-2] | [6 empty] | m2
|  |  | 3-3 | house_window_area_D90 [3-3] | [6 empty] | m2
|  |  | 3-4 | house_window_area_D90 [3-4] | [6 empty] | m2
|  | 主方位+180 | 1-1 | house_window_area_D180 [1-1] | [6 empty] | m2
|  |  | 1-2 | house_window_area_D180 [1-2] | [6 empty] | m2
|  |  | 1-3 | house_window_area_D180 [1-3] | [6 empty] | m2
|  |  | 1-4 | house_window_area_D180 [1-4] | [6 empty] | m2
|  |  | 2-1 | house_window_area_D180 [2-1] | [6 empty] | m2
|  |  | 2-2 | house_window_area_D180 [2-2] | [6 empty] | m2
|  |  | 2-3 | house_window_area_D180 [2-3] | [6 empty] | m2
|  |  | 2-4 | house_window_area_D180 [2-4] | [6 empty] | m2
|  |  | 3-1 | house_window_area_D180 [3-1] | [6 empty] | m2
|  |  | 3-2 | house_window_area_D180 [3-2] | [6 empty] | m2
|  |  | 3-3 | house_window_area_D180 [3-3] | [6 empty] | m2
|  |  | 3-4 | house_window_area_D180 [3-4] | [6 empty] | m2
|  | 主方位+270 | 1-1 | house_window_area_D270 [1-1] | [6 empty] | m2
|  |  | 1-2 | house_window_area_D270 [1-2] | [6 empty] | m2
|  |  | 1-3 | house_window_area_D270 [1-3] | [6 empty] | m2
|  |  | 1-4 | house_window_area_D270 [1-4] | [6 empty] | m2
|  |  | 2-1 | house_window_area_D270 [2-1] | [6 empty] | m2
|  |  | 2-2 | house_window_area_D270 [2-2] | [6 empty] | m2
|  |  | 2-3 | house_window_area_D270 [2-3] | [6 empty] | m2
|  |  | 2-4 | house_window_area_D270 [2-4] | [6 empty] | m2
|  |  | 3-1 | house_window_area_D270 [3-1] | [6 empty] | m2
|  |  | 3-2 | house_window_area_D270 [3-2] | [6 empty] | m2
|  |  | 3-3 | house_window_area_D270 [3-3] | [6 empty] | m2
|  |  | 3-4 | house_window_area_D270 [3-4] | [6 empty] | m2
| 外壁面積 | 主方位+0 | 1-1 | house_outside_wall_area_D0 [1-1] | [6 empty] | m2
|  |  | 1-2 | house_outside_wall_area_D0 [1-2] | [6 empty] | m2
|  |  | 1-3 | house_outside_wall_area_D0 [1-3] | [6 empty] | m2
|  |  | 1-4 | house_outside_wall_area_D0 [1-4] | [6 empty] | m2
|  |  | 2-1 | house_outside_wall_area_D0 [2-1] | [6 empty] | m2
|  |  | 2-2 | house_outside_wall_area_D0 [2-2] | [6 empty] | m2
|  |  | 2-3 | house_outside_wall_area_D0 [2-3] | [6 empty] | m2
|  |  | 2-4 | house_outside_wall_area_D0 [2-4] | [6 empty] | m2
|  |  | 3-1 | house_outside_wall_area_D0 [3-1] | [6 empty] | m2
|  |  | 3-2 | house_outside_wall_area_D0 [3-2] | [6 empty] | m2
|  |  | 3-3 | house_outside_wall_area_D0 [3-3] | [6 empty] | m2
|  |  | 3-4 | house_outside_wall_area_D0 [3-4] | [6 empty] | m2
|  | 主方位+90 | 1-1 | house_outside_wall_area_D0 [1-1] | [6 empty] | m2
|  |  | 1-2 | house_outside_wall_area_D0 [1-2] | [6 empty] | m2
|  |  | 1-3 | house_outside_wall_area_D0 [1-3] | [6 empty] | m2
|  |  | 1-4 | house_outside_wall_area_D0 [1-4] | [6 empty] | m2
|  |  | 2-1 | house_outside_wall_area_D0 [2-1] | [6 empty] | m2
|  |  | 2-2 | house_outside_wall_area_D0 [2-2] | [6 empty] | m2
|  |  | 2-3 | house_outside_wall_area_D0 [2-3] | [6 empty] | m2
|  |  | 2-4 | house_outside_wall_area_D0 [2-4] | [6 empty] | m2
|  |  | 3-1 | house_outside_wall_area_D0 [3-1] | [6 empty] | m2
|  |  | 3-2 | house_outside_wall_area_D0 [3-2] | [6 empty] | m2
|  |  | 3-3 | house_outside_wall_area_D0 [3-3] | [6 empty] | m2
|  |  | 3-4 | house_outside_wall_area_D0 [3-4] | [6 empty] | m2
|  | 主方位+180 | 1-1 | house_outside_wall_area_D0 [1-1] | [6 empty] | m2
|  |  | 1-2 | house_outside_wall_area_D0 [1-2] | [6 empty] | m2
|  |  | 1-3 | house_outside_wall_area_D0 [1-3] | [6 empty] | m2
|  |  | 1-4 | house_outside_wall_area_D0 [1-4] | [6 empty] | m2
|  |  | 2-1 | house_outside_wall_area_D0 [2-1] | [6 empty] | m2
|  |  | 2-2 | house_outside_wall_area_D0 [2-2] | [6 empty] | m2
|  |  | 2-3 | house_outside_wall_area_D0 [2-3] | [6 empty] | m2
|  |  | 2-4 | house_outside_wall_area_D0 [2-4] | [6 empty] | m2
|  |  | 3-1 | house_outside_wall_area_D0 [3-1] | [6 empty] | m2
|  |  | 3-2 | house_outside_wall_area_D0 [3-2] | [6 empty] | m2
|  |  | 3-3 | house_outside_wall_area_D0 [3-3] | [6 empty] | m2
|  |  | 3-4 | house_outside_wall_area_D0 [3-4] | [6 empty] | m2
|  | 主方位+270 | 1-1 | house_outside_wall_area_D0 [1-1] | [6 empty] | m2
|  |  | 1-2 | house_outside_wall_area_D0 [1-2] | [6 empty] | m2
|  |  | 1-3 | house_outside_wall_area_D0 [1-3] | [6 empty] | m2
|  |  | 1-4 | house_outside_wall_area_D0 [1-4] | [6 empty] | m2
|  |  | 2-1 | house_outside_wall_area_D0 [2-1] | [6 empty] | m2
|  |  | 2-2 | house_outside_wall_area_D0 [2-2] | [6 empty] | m2
|  |  | 2-3 | house_outside_wall_area_D0 [2-3] | [6 empty] | m2
|  |  | 2-4 | house_outside_wall_area_D0 [2-4] | [6 empty] | m2
|  |  | 3-1 | house_outside_wall_area_D0 [3-1] | [6 empty] | m2
|  |  | 3-2 | house_outside_wall_area_D0 [3-2] | [6 empty] | m2
|  |  | 3-3 | house_outside_wall_area_D0 [3-3] | [6 empty] | m2
|  |  | 3-4 | house_outside_wall_area_D0 [3-4] | [6 empty] | m2
| 玄関ドア面積 | 主方位+0 | 1-1 | house_door_area_D0 [1-1] | [6 empty] | m2
|  |  | 1-2 | house_door_area_D0 [1-2] | [6 empty] | m2
|  |  | 1-3 | house_door_area_D0 [1-3] | [6 empty] | m2
|  |  | 1-4 | house_door_area_D0 [1-4] | [6 empty] | m2
|  |  | 2-1 | house_door_area_D0 [2-1] | [6 empty] | m2
|  |  | 2-2 | house_door_area_D0 [2-2] | [6 empty] | m2
|  |  | 2-3 | house_door_area_D0 [2-3] | [6 empty] | m2
|  |  | 2-4 | house_door_area_D0 [2-4] | [6 empty] | m2
|  |  | 3-1 | house_door_area_D0 [3-1] | [6 empty] | m2
|  |  | 3-2 | house_door_area_D0 [3-2] | [6 empty] | m2
|  |  | 3-3 | house_door_area_D0 [3-3] | [6 empty] | m2
|  |  | 3-4 | house_door_area_D0 [3-4] | [6 empty] | m2
|  | 主方位+90 | 1-1 | house_door_area_D0 [1-1] | [6 empty] | m2
|  |  | 1-2 | house_door_area_D0 [1-2] | [6 empty] | m2
|  |  | 1-3 | house_door_area_D0 [1-3] | [6 empty] | m2
|  |  | 1-4 | house_door_area_D0 [1-4] | [6 empty] | m2
|  |  | 2-1 | house_door_area_D0 [2-1] | [6 empty] | m2
|  |  | 2-2 | house_door_area_D0 [2-2] | [6 empty] | m2
|  |  | 2-3 | house_door_area_D0 [2-3] | [6 empty] | m2
|  |  | 2-4 | house_door_area_D0 [2-4] | [6 empty] | m2
|  |  | 3-1 | house_door_area_D0 [3-1] | [6 empty] | m2
|  |  | 3-2 | house_door_area_D0 [3-2] | [6 empty] | m2
|  |  | 3-3 | house_door_area_D0 [3-3] | [6 empty] | m2
|  |  | 3-4 | house_door_area_D0 [3-4] | [6 empty] | m2
|  | 主方位+180 | 1-1 | house_door_area_D0 [1-1] | [6 empty] | m2
|  |  | 1-2 | house_door_area_D0 [1-2] | [6 empty] | m2
|  |  | 1-3 | house_door_area_D0 [1-3] | [6 empty] | m2
|  |  | 1-4 | house_door_area_D0 [1-4] | [6 empty] | m2
|  |  | 2-1 | house_door_area_D0 [2-1] | [6 empty] | m2
|  |  | 2-2 | house_door_area_D0 [2-2] | [6 empty] | m2
|  |  | 2-3 | house_door_area_D0 [2-3] | [6 empty] | m2
|  |  | 2-4 | house_door_area_D0 [2-4] | [6 empty] | m2
|  |  | 3-1 | house_door_area_D0 [3-1] | [6 empty] | m2
|  |  | 3-2 | house_door_area_D0 [3-2] | [6 empty] | m2
|  |  | 3-3 | house_door_area_D0 [3-3] | [6 empty] | m2
|  |  | 3-4 | house_door_area_D0 [3-4] | [6 empty] | m2
|  | 主方位+270 | 1-1 | house_door_area_D0 [1-1] | [6 empty] | m2
|  |  | 1-2 | house_door_area_D0 [1-2] | [6 empty] | m2
|  |  | 1-3 | house_door_area_D0 [1-3] | [6 empty] | m2
|  |  | 1-4 | house_door_area_D0 [1-4] | [6 empty] | m2
|  |  | 2-1 | house_door_area_D0 [2-1] | [6 empty] | m2
|  |  | 2-2 | house_door_area_D0 [2-2] | [6 empty] | m2
|  |  | 2-3 | house_door_area_D0 [2-3] | [6 empty] | m2
|  |  | 2-4 | house_door_area_D0 [2-4] | [6 empty] | m2
|  |  | 3-1 | house_door_area_D0 [3-1] | [6 empty] | m2
|  |  | 3-2 | house_door_area_D0 [3-2] | [6 empty] | m2
|  |  | 3-3 | house_door_area_D0 [3-3] | [6 empty] | m2
|  |  | 3-4 | house_door_area_D0 [3-4] | [6 empty] | m2
| 熱橋長さ 1 v w-w | 主方位+0&+90 | 1-1 | house_psi_length_1vww_D0D90 [1-1] | [6 empty] | m
|  |  | 1-2 | house_psi_length_1vww_D0D90 [1-2] | [6 empty] | m
|  |  | 1-3 | house_psi_length_1vww_D0D90 [1-3] | [6 empty] | m
|  |  | 1-4 | house_psi_length_1vww_D0D90 [1-4] | [6 empty] | m
|  |  | 2-1 | house_psi_length_1vww_D0D90 [2-1] | [6 empty] | m
|  |  | 2-2 | house_psi_length_1vww_D0D90 [2-2] | [6 empty] | m
|  |  | 2-3 | house_psi_length_1vww_D0D90 [2-3] | [6 empty] | m
|  |  | 2-4 | house_psi_length_1vww_D0D90 [2-4] | [6 empty] | m
|  |  | 3-1 | house_psi_length_1vww_D0D90 [3-1] | [6 empty] | m
|  |  | 3-2 | house_psi_length_1vww_D0D90 [3-2] | [6 empty] | m
|  |  | 3-3 | house_psi_length_1vww_D0D90 [3-3] | [6 empty] | m
|  |  | 3-4 | house_psi_length_1vww_D0D90 [3-4] | [6 empty] | m
|  | 主方位+90&+180 | 1-1 | house_psi_length_1vww_D90D180 [1-1] | [6 empty] | m
|  |  | 1-2 | house_psi_length_1vww_D90D180 [1-2] | [6 empty] | m
|  |  | 1-3 | house_psi_length_1vww_D90D180 [1-3] | [6 empty] | m
|  |  | 1-4 | house_psi_length_1vww_D90D180 [1-4] | [6 empty] | m
|  |  | 2-1 | house_psi_length_1vww_D90D180 [2-1] | [6 empty] | m
|  |  | 2-2 | house_psi_length_1vww_D90D180 [2-2] | [6 empty] | m
|  |  | 2-3 | house_psi_length_1vww_D90D180 [2-3] | [6 empty] | m
|  |  | 2-4 | house_psi_length_1vww_D90D180 [2-4] | [6 empty] | m
|  |  | 3-1 | house_psi_length_1vww_D90D180 [3-1] | [6 empty] | m
|  |  | 3-2 | house_psi_length_1vww_D90D180 [3-2] | [6 empty] | m
|  |  | 3-3 | house_psi_length_1vww_D90D180 [3-3] | [6 empty] | m
|  |  | 3-4 | house_psi_length_1vww_D90D180 [3-4] | [6 empty] | m
|  | 主方位+180&+270 | 1-1 | house_psi_length_1vww_D180D270 [1-1] | [6 empty] | m
|  |  | 1-2 | house_psi_length_1vww_D180D270 [1-2] | [6 empty] | m
|  |  | 1-3 | house_psi_length_1vww_D180D270 [1-3] | [6 empty] | m
|  |  | 1-4 | house_psi_length_1vww_D180D270 [1-4] | [6 empty] | m
|  |  | 2-1 | house_psi_length_1vww_D180D270 [2-1] | [6 empty] | m
|  |  | 2-2 | house_psi_length_1vww_D180D270 [2-2] | [6 empty] | m
|  |  | 2-3 | house_psi_length_1vww_D180D270 [2-3] | [6 empty] | m
|  |  | 2-4 | house_psi_length_1vww_D180D270 [2-4] | [6 empty] | m
|  |  | 3-1 | house_psi_length_1vww_D180D270 [3-1] | [6 empty] | m
|  |  | 3-2 | house_psi_length_1vww_D180D270 [3-2] | [6 empty] | m
|  |  | 3-3 | house_psi_length_1vww_D180D270 [3-3] | [6 empty] | m
|  |  | 3-4 | house_psi_length_1vww_D180D270 [3-4] | [6 empty] | m
|  | 主方位+270&+90 | 1-1 | house_psi_length_1vww_D270D0 [1-1] | [6 empty] | m
|  |  | 1-2 | house_psi_length_1vww_D270D0 [1-2] | [6 empty] | m
|  |  | 1-3 | house_psi_length_1vww_D270D0 [1-3] | [6 empty] | m
|  |  | 1-4 | house_psi_length_1vww_D270D0 [1-4] | [6 empty] | m
|  |  | 2-1 | house_psi_length_1vww_D270D0 [2-1] | [6 empty] | m
|  |  | 2-2 | house_psi_length_1vww_D270D0 [2-2] | [6 empty] | m
|  |  | 2-3 | house_psi_length_1vww_D270D0 [2-3] | [6 empty] | m
|  |  | 2-4 | house_psi_length_1vww_D270D0 [2-4] | [6 empty] | m
|  |  | 3-1 | house_psi_length_1vww_D270D0 [3-1] | [6 empty] | m
|  |  | 3-2 | house_psi_length_1vww_D270D0 [3-2] | [6 empty] | m
|  |  | 3-3 | house_psi_length_1vww_D270D0 [3-3] | [6 empty] | m
|  |  | 3-4 | house_psi_length_1vww_D270D0 [3-4] | [6 empty] | m
| 熱橋長さ 1 h w-r | 主方位+top&+0 | 1-1 | house_psi_length_1hwr_topD0 [1-1] | [6 empty] | m
|  |  | 1-2 | house_psi_length_1hwr_topD0 [1-2] | [6 empty] | m
|  |  | 1-3 | house_psi_length_1hwr_topD0 [1-3] | [6 empty] | m
|  |  | 1-4 | house_psi_length_1hwr_topD0 [1-4] | [6 empty] | m
|  |  | 2-1 | house_psi_length_1hwr_topD0 [2-1] | [6 empty] | m
|  |  | 2-2 | house_psi_length_1hwr_topD0 [2-2] | [6 empty] | m
|  |  | 2-3 | house_psi_length_1hwr_topD0 [2-3] | [6 empty] | m
|  |  | 2-4 | house_psi_length_1hwr_topD0 [2-4] | [6 empty] | m
|  |  | 3-1 | house_psi_length_1hwr_topD0 [3-1] | [6 empty] | m
|  |  | 3-2 | house_psi_length_1hwr_topD0 [3-2] | [6 empty] | m
|  |  | 3-3 | house_psi_length_1hwr_topD0 [3-3] | [6 empty] | m
|  |  | 3-4 | house_psi_length_1hwr_topD0 [3-4] | [6 empty] | m
|  | 主方位+top&+90 | 1-1 | house_psi_length_1hwr_topD90 [1-1] | [6 empty] | m
|  |  | 1-2 | house_psi_length_1hwr_topD90 [1-2] | [6 empty] | m
|  |  | 1-3 | house_psi_length_1hwr_topD90 [1-3] | [6 empty] | m
|  |  | 1-4 | house_psi_length_1hwr_topD90 [1-4] | [6 empty] | m
|  |  | 2-1 | house_psi_length_1hwr_topD90 [2-1] | [6 empty] | m
|  |  | 2-2 | house_psi_length_1hwr_topD90 [2-2] | [6 empty] | m
|  |  | 2-3 | house_psi_length_1hwr_topD90 [2-3] | [6 empty] | m
|  |  | 2-4 | house_psi_length_1hwr_topD90 [2-4] | [6 empty] | m
|  |  | 3-1 | house_psi_length_1hwr_topD90 [3-1] | [6 empty] | m
|  |  | 3-2 | house_psi_length_1hwr_topD90 [3-2] | [6 empty] | m
|  |  | 3-3 | house_psi_length_1hwr_topD90 [3-3] | [6 empty] | m
|  |  | 3-4 | house_psi_length_1hwr_topD90 [3-4] | [6 empty] | m
|  | 主方位+top&+180 | 1-1 | house_psi_length_1hwr_topD180 [1-1] | [6 empty] | m
|  |  | 1-2 | house_psi_length_1hwr_topD180 [1-2] | [6 empty] | m
|  |  | 1-3 | house_psi_length_1hwr_topD180 [1-3] | [6 empty] | m
|  |  | 1-4 | house_psi_length_1hwr_topD180 [1-4] | [6 empty] | m
|  |  | 2-1 | house_psi_length_1hwr_topD180 [2-1] | [6 empty] | m
|  |  | 2-2 | house_psi_length_1hwr_topD180 [2-2] | [6 empty] | m
|  |  | 2-3 | house_psi_length_1hwr_topD180 [2-3] | [6 empty] | m
|  |  | 2-4 | house_psi_length_1hwr_topD180 [2-4] | [6 empty] | m
|  |  | 3-1 | house_psi_length_1hwr_topD180 [3-1] | [6 empty] | m
|  |  | 3-2 | house_psi_length_1hwr_topD180 [3-2] | [6 empty] | m
|  |  | 3-3 | house_psi_length_1hwr_topD180 [3-3] | [6 empty] | m
|  |  | 3-4 | house_psi_length_1hwr_topD180 [3-4] | [6 empty] | m
|  | 主方位+top&+270 | 1-1 | house_psi_length_1hwr_topD270 [1-1] | [6 empty] | m
|  |  | 1-2 | house_psi_length_1hwr_topD270 [1-2] | [6 empty] | m
|  |  | 1-3 | house_psi_length_1hwr_topD270 [1-3] | [6 empty] | m
|  |  | 1-4 | house_psi_length_1hwr_topD270 [1-4] | [6 empty] | m
|  |  | 2-1 | house_psi_length_1hwr_topD270 [2-1] | [6 empty] | m
|  |  | 2-2 | house_psi_length_1hwr_topD270 [2-2] | [6 empty] | m
|  |  | 2-3 | house_psi_length_1hwr_topD270 [2-3] | [6 empty] | m
|  |  | 2-4 | house_psi_length_1hwr_topD270 [2-4] | [6 empty] | m
|  |  | 3-1 | house_psi_length_1hwr_topD270 [3-1] | [6 empty] | m
|  |  | 3-2 | house_psi_length_1hwr_topD270 [3-2] | [6 empty] | m
|  |  | 3-3 | house_psi_length_1hwr_topD270 [3-3] | [6 empty] | m
|  |  | 3-4 | house_psi_length_1hwr_topD270 [3-4] | [6 empty] | m
| 熱橋長さ 1 h w-f | 主方位+bottom&+0 | 1-1 | house_psi_length_1hwr_bottomD0 [1-1] | [6 empty] | m
|  |  | 1-2 | house_psi_length_1hwr_bottomD0 [1-2] | [6 empty] | m
|  |  | 1-3 | house_psi_length_1hwr_bottomD0 [1-3] | [6 empty] | m
|  |  | 1-4 | house_psi_length_1hwr_bottomD0 [1-4] | [6 empty] | m
|  |  | 2-1 | house_psi_length_1hwr_bottomD0 [2-1] | [6 empty] | m
|  |  | 2-2 | house_psi_length_1hwr_bottomD0 [2-2] | [6 empty] | m
|  |  | 2-3 | house_psi_length_1hwr_bottomD0 [2-3] | [6 empty] | m
|  |  | 2-4 | house_psi_length_1hwr_bottomD0 [2-4] | [6 empty] | m
|  |  | 3-1 | house_psi_length_1hwr_bottomD0 [3-1] | [6 empty] | m
|  |  | 3-2 | house_psi_length_1hwr_bottomD0 [3-2] | [6 empty] | m
|  |  | 3-3 | house_psi_length_1hwr_bottomD0 [3-3] | [6 empty] | m
|  |  | 3-4 | house_psi_length_1hwr_bottomD0 [3-4] | [6 empty] | m
|  | 主方位+bottom&+90 | 1-1 | house_psi_length_1hwr_bottomD90 [1-1] | [6 empty] | m
|  |  | 1-2 | house_psi_length_1hwr_bottomD90 [1-2] | [6 empty] | m
|  |  | 1-3 | house_psi_length_1hwr_bottomD90 [1-3] | [6 empty] | m
|  |  | 1-4 | house_psi_length_1hwr_bottomD90 [1-4] | [6 empty] | m
|  |  | 2-1 | house_psi_length_1hwr_bottomD90 [2-1] | [6 empty] | m
|  |  | 2-2 | house_psi_length_1hwr_bottomD90 [2-2] | [6 empty] | m
|  |  | 2-3 | house_psi_length_1hwr_bottomD90 [2-3] | [6 empty] | m
|  |  | 2-4 | house_psi_length_1hwr_bottomD90 [2-4] | [6 empty] | m
|  |  | 3-1 | house_psi_length_1hwr_bottomD90 [3-1] | [6 empty] | m
|  |  | 3-2 | house_psi_length_1hwr_bottomD90 [3-2] | [6 empty] | m
|  |  | 3-3 | house_psi_length_1hwr_bottomD90 [3-3] | [6 empty] | m
|  |  | 3-4 | house_psi_length_1hwr_bottomD90 [3-4] | [6 empty] | m
|  | 主方位+bottom&+180 | 1-1 | house_psi_length_1hwr_bottomD180 [1-1] | [6 empty] | m
|  |  | 1-2 | house_psi_length_1hwr_bottomD180 [1-2] | [6 empty] | m
|  |  | 1-3 | house_psi_length_1hwr_bottomD180 [1-3] | [6 empty] | m
|  |  | 1-4 | house_psi_length_1hwr_bottomD180 [1-4] | [6 empty] | m
|  |  | 2-1 | house_psi_length_1hwr_bottomD180 [2-1] | [6 empty] | m
|  |  | 2-2 | house_psi_length_1hwr_bottomD180 [2-2] | [6 empty] | m
|  |  | 2-3 | house_psi_length_1hwr_bottomD180 [2-3] | [6 empty] | m
|  |  | 2-4 | house_psi_length_1hwr_bottomD180 [2-4] | [6 empty] | m
|  |  | 3-1 | house_psi_length_1hwr_bottomD180 [3-1] | [6 empty] | m
|  |  | 3-2 | house_psi_length_1hwr_bottomD180 [3-2] | [6 empty] | m
|  |  | 3-3 | house_psi_length_1hwr_bottomD180 [3-3] | [6 empty] | m
|  |  | 3-4 | house_psi_length_1hwr_bottomD180 [3-4] | [6 empty] | m
|  | 主方位+bottom&+270 | 1-1 | house_psi_length_1hwr_bottomD270 [1-1] | [6 empty] | m
|  |  | 1-2 | house_psi_length_1hwr_bottomD270 [1-2] | [6 empty] | m
|  |  | 1-3 | house_psi_length_1hwr_bottomD270 [1-3] | [6 empty] | m
|  |  | 1-4 | house_psi_length_1hwr_bottomD270 [1-4] | [6 empty] | m
|  |  | 2-1 | house_psi_length_1hwr_bottomD270 [2-1] | [6 empty] | m
|  |  | 2-2 | house_psi_length_1hwr_bottomD270 [2-2] | [6 empty] | m
|  |  | 2-3 | house_psi_length_1hwr_bottomD270 [2-3] | [6 empty] | m
|  |  | 2-4 | house_psi_length_1hwr_bottomD270 [2-4] | [6 empty] | m
|  |  | 3-1 | house_psi_length_1hwr_bottomD270 [3-1] | [6 empty] | m
|  |  | 3-2 | house_psi_length_1hwr_bottomD270 [3-2] | [6 empty] | m
|  |  | 3-3 | house_psi_length_1hwr_bottomD270 [3-3] | [6 empty] | m
|  |  | 3-4 | house_psi_length_1hwr_bottomD270 [3-4] | [6 empty] | m
| 熱橋長さ 2 v w | 主方位+0 | 1-1 | house_psi_length_2vw_D0 [1-1] | [6 empty] | m
|  |  | 1-2 | house_psi_length_2vw_D0 [1-2] | [6 empty] | m
|  |  | 1-3 | house_psi_length_2vw_D0 [1-3] | [6 empty] | m
|  |  | 1-4 | house_psi_length_2vw_D0 [1-4] | [6 empty] | m
|  |  | 2-1 | house_psi_length_2vw_D0 [2-1] | [6 empty] | m
|  |  | 2-2 | house_psi_length_2vw_D0 [2-2] | [6 empty] | m
|  |  | 2-3 | house_psi_length_2vw_D0 [2-3] | [6 empty] | m
|  |  | 2-4 | house_psi_length_2vw_D0 [2-4] | [6 empty] | m
|  |  | 3-1 | house_psi_length_2vw_D0 [3-1] | [6 empty] | m
|  |  | 3-2 | house_psi_length_2vw_D0 [3-2] | [6 empty] | m
|  |  | 3-3 | house_psi_length_2vw_D0 [3-3] | [6 empty] | m
|  |  | 3-4 | house_psi_length_2vw_D0 [3-4] | [6 empty] | m
|  | 主方位+90 | 1-1 | house_psi_length_2vw_D90 [1-1] | [6 empty] | m
|  |  | 1-2 | house_psi_length_2vw_D90 [1-2] | [6 empty] | m
|  |  | 1-3 | house_psi_length_2vw_D90 [1-3] | [6 empty] | m
|  |  | 1-4 | house_psi_length_2vw_D90 [1-4] | [6 empty] | m
|  |  | 2-1 | house_psi_length_2vw_D90 [2-1] | [6 empty] | m
|  |  | 2-2 | house_psi_length_2vw_D90 [2-2] | [6 empty] | m
|  |  | 2-3 | house_psi_length_2vw_D90 [2-3] | [6 empty] | m
|  |  | 2-4 | house_psi_length_2vw_D90 [2-4] | [6 empty] | m
|  |  | 3-1 | house_psi_length_2vw_D90 [3-1] | [6 empty] | m
|  |  | 3-2 | house_psi_length_2vw_D90 [3-2] | [6 empty] | m
|  |  | 3-3 | house_psi_length_2vw_D90 [3-3] | [6 empty] | m
|  |  | 3-4 | house_psi_length_2vw_D90 [3-4] | [6 empty] | m
|  | 主方位+180 | 1-1 | house_psi_length_2vw_D180 [1-1] | [6 empty] | m
|  |  | 1-2 | house_psi_length_2vw_D180 [1-2] | [6 empty] | m
|  |  | 1-3 | house_psi_length_2vw_D180 [1-3] | [6 empty] | m
|  |  | 1-4 | house_psi_length_2vw_D180 [1-4] | [6 empty] | m
|  |  | 2-1 | house_psi_length_2vw_D180 [2-1] | [6 empty] | m
|  |  | 2-2 | house_psi_length_2vw_D180 [2-2] | [6 empty] | m
|  |  | 2-3 | house_psi_length_2vw_D180 [2-3] | [6 empty] | m
|  |  | 2-4 | house_psi_length_2vw_D180 [2-4] | [6 empty] | m
|  |  | 3-1 | house_psi_length_2vw_D180 [3-1] | [6 empty] | m
|  |  | 3-2 | house_psi_length_2vw_D180 [3-2] | [6 empty] | m
|  |  | 3-3 | house_psi_length_2vw_D180 [3-3] | [6 empty] | m
|  |  | 3-4 | house_psi_length_2vw_D180 [3-4] | [6 empty] | m
|  | 主方位+270 | 1-1 | house_psi_length_2vw_D270 [1-1] | [6 empty] | m
|  |  | 1-2 | house_psi_length_2vw_D270 [1-2] | [6 empty] | m
|  |  | 1-3 | house_psi_length_2vw_D270 [1-3] | [6 empty] | m
|  |  | 1-4 | house_psi_length_2vw_D270 [1-4] | [6 empty] | m
|  |  | 2-1 | house_psi_length_2vw_D270 [2-1] | [6 empty] | m
|  |  | 2-2 | house_psi_length_2vw_D270 [2-2] | [6 empty] | m
|  |  | 2-3 | house_psi_length_2vw_D270 [2-3] | [6 empty] | m
|  |  | 2-4 | house_psi_length_2vw_D270 [2-4] | [6 empty] | m
|  |  | 3-1 | house_psi_length_2vw_D270 [3-1] | [6 empty] | m
|  |  | 3-2 | house_psi_length_2vw_D270 [3-2] | [6 empty] | m
|  |  | 3-3 | house_psi_length_2vw_D270 [3-3] | [6 empty] | m
|  |  | 3-4 | house_psi_length_2vw_D270 [3-4] | [6 empty] | m
| 熱橋長さ 2 h r | 主方位top | 1-1 | house_psi_length_2hr_top [1-1] | [6 empty] | m
|  |  | 1-2 | house_psi_length_2hr_top [1-2] | [6 empty] | m
|  |  | 1-3 | house_psi_length_2hr_top [1-3] | [6 empty] | m
|  |  | 1-4 | house_psi_length_2hr_top [1-4] | [6 empty] | m
|  |  | 2-1 | house_psi_length_2hr_top [2-1] | [6 empty] | m
|  |  | 2-2 | house_psi_length_2hr_top [2-2] | [6 empty] | m
|  |  | 2-3 | house_psi_length_2hr_top [2-3] | [6 empty] | m
|  |  | 2-4 | house_psi_length_2hr_top [2-4] | [6 empty] | m
|  |  | 3-1 | house_psi_length_2hr_top [3-1] | [6 empty] | m
|  |  | 3-2 | house_psi_length_2hr_top [3-2] | [6 empty] | m
|  |  | 3-3 | house_psi_length_2hr_top [3-3] | [6 empty] | m
|  |  | 3-4 | house_psi_length_2hr_top [3-4] | [6 empty] | m
| 熱橋長さ 2 h w | 主方位+0 | 1-1 | house_psi_length_2hw_D0 [1-1] | [6 empty] | m
|  |  | 1-2 | house_psi_length_2hw_D0 [1-2] | [6 empty] | m
|  |  | 1-3 | house_psi_length_2hw_D0 [1-3] | [6 empty] | m
|  |  | 1-4 | house_psi_length_2hw_D0 [1-4] | [6 empty] | m
|  |  | 2-1 | house_psi_length_2hw_D0 [2-1] | [6 empty] | m
|  |  | 2-2 | house_psi_length_2hw_D0 [2-2] | [6 empty] | m
|  |  | 2-3 | house_psi_length_2hw_D0 [2-3] | [6 empty] | m
|  |  | 2-4 | house_psi_length_2hw_D0 [2-4] | [6 empty] | m
|  |  | 3-1 | house_psi_length_2hw_D0 [3-1] | [6 empty] | m
|  |  | 3-2 | house_psi_length_2hw_D0 [3-2] | [6 empty] | m
|  |  | 3-3 | house_psi_length_2hw_D0 [3-3] | [6 empty] | m
|  |  | 3-4 | house_psi_length_2hw_D0 [3-4] | [6 empty] | m
|  | 主方位+90 | 1-1 | house_psi_length_2hw_D90 [1-1] | [6 empty] | m
|  |  | 1-2 | house_psi_length_2hw_D90 [1-2] | [6 empty] | m
|  |  | 1-3 | house_psi_length_2hw_D90 [1-3] | [6 empty] | m
|  |  | 1-4 | house_psi_length_2hw_D90 [1-4] | [6 empty] | m
|  |  | 2-1 | house_psi_length_2hw_D90 [2-1] | [6 empty] | m
|  |  | 2-2 | house_psi_length_2hw_D90 [2-2] | [6 empty] | m
|  |  | 2-3 | house_psi_length_2hw_D90 [2-3] | [6 empty] | m
|  |  | 2-4 | house_psi_length_2hw_D90 [2-4] | [6 empty] | m
|  |  | 3-1 | house_psi_length_2hw_D90 [3-1] | [6 empty] | m
|  |  | 3-2 | house_psi_length_2hw_D90 [3-2] | [6 empty] | m
|  |  | 3-3 | house_psi_length_2hw_D90 [3-3] | [6 empty] | m
|  |  | 3-4 | house_psi_length_2hw_D90 [3-4] | [6 empty] | m
|  | 主方位+180 | 1-1 | house_psi_length_2hw_D180 [1-1] | [6 empty] | m
|  |  | 1-2 | house_psi_length_2hw_D180 [1-2] | [6 empty] | m
|  |  | 1-3 | house_psi_length_2hw_D180 [1-3] | [6 empty] | m
|  |  | 1-4 | house_psi_length_2hw_D180 [1-4] | [6 empty] | m
|  |  | 2-1 | house_psi_length_2hw_D180 [2-1] | [6 empty] | m
|  |  | 2-2 | house_psi_length_2hw_D180 [2-2] | [6 empty] | m
|  |  | 2-3 | house_psi_length_2hw_D180 [2-3] | [6 empty] | m
|  |  | 2-4 | house_psi_length_2hw_D180 [2-4] | [6 empty] | m
|  |  | 3-1 | house_psi_length_2hw_D180 [3-1] | [6 empty] | m
|  |  | 3-2 | house_psi_length_2hw_D180 [3-2] | [6 empty] | m
|  |  | 3-3 | house_psi_length_2hw_D180 [3-3] | [6 empty] | m
|  |  | 3-4 | house_psi_length_2hw_D180 [3-4] | [6 empty] | m
|  | 主方位+270 | 1-1 | house_psi_length_2hw_D270 [1-1] | [6 empty] | m
|  |  | 1-2 | house_psi_length_2hw_D270 [1-2] | [6 empty] | m
|  |  | 1-3 | house_psi_length_2hw_D270 [1-3] | [6 empty] | m
|  |  | 1-4 | house_psi_length_2hw_D270 [1-4] | [6 empty] | m
|  |  | 2-1 | house_psi_length_2hw_D270 [2-1] | [6 empty] | m
|  |  | 2-2 | house_psi_length_2hw_D270 [2-2] | [6 empty] | m
|  |  | 2-3 | house_psi_length_2hw_D270 [2-3] | [6 empty] | m
|  |  | 2-4 | house_psi_length_2hw_D270 [2-4] | [6 empty] | m
|  |  | 3-1 | house_psi_length_2hw_D270 [3-1] | [6 empty] | m
|  |  | 3-2 | house_psi_length_2hw_D270 [3-2] | [6 empty] | m
|  |  | 3-3 | house_psi_length_2hw_D270 [3-3] | [6 empty] | m
|  |  | 3-4 | house_psi_length_2hw_D270 [3-4] | [6 empty] | m
| 熱橋長さ 2 h f | 主方位bottom | 1-1 | house_psi_length_2hf_bottom [1-1] | [6 empty] | m
|  |  | 1-2 | house_psi_length_2hf_bottom [1-2] | [6 empty] | m
|  |  | 1-3 | house_psi_length_2hf_bottom [1-3] | [6 empty] | m
|  |  | 1-4 | house_psi_length_2hf_bottom [1-4] | [6 empty] | m
|  |  | 2-1 | house_psi_length_2hf_bottom [2-1] | [6 empty] | m
|  |  | 2-2 | house_psi_length_2hf_bottom [2-2] | [6 empty] | m
|  |  | 2-3 | house_psi_length_2hf_bottom [2-3] | [6 empty] | m
|  |  | 2-4 | house_psi_length_2hf_bottom [2-4] | [6 empty] | m
|  |  | 3-1 | house_psi_length_2hf_bottom [3-1] | [6 empty] | m
|  |  | 3-2 | house_psi_length_2hf_bottom [3-2] | [6 empty] | m
|  |  | 3-3 | house_psi_length_2hf_bottom [3-3] | [6 empty] | m
|  |  | 3-4 | house_psi_length_2hf_bottom [3-4] | [6 empty] | m
| 熱橋長さ 3 v w-w | 主方位+90&+180 | 1-1 | house_psi_length_3vww_D90D180 [1-1] | [6 empty] | m
|  |  | 1-2 | house_psi_length_3vww_D90D180 [1-2] | [6 empty] | m
|  |  | 1-3 | house_psi_length_3vww_D90D180 [1-3] | [6 empty] | m
|  |  | 1-4 | house_psi_length_3vww_D90D180 [1-4] | [6 empty] | m
|  |  | 2-1 | house_psi_length_3vww_D90D180 [2-1] | [6 empty] | m
|  |  | 2-2 | house_psi_length_3vww_D90D180 [2-2] | [6 empty] | m
|  |  | 2-3 | house_psi_length_3vww_D90D180 [2-3] | [6 empty] | m
|  |  | 2-4 | house_psi_length_3vww_D90D180 [2-4] | [6 empty] | m
|  |  | 3-1 | house_psi_length_3vww_D90D180 [3-1] | [6 empty] | m
|  |  | 3-2 | house_psi_length_3vww_D90D180 [3-2] | [6 empty] | m
|  |  | 3-3 | house_psi_length_3vww_D90D180 [3-3] | [6 empty] | m
|  |  | 3-4 | house_psi_length_3vww_D90D180 [3-4] | [6 empty] | m
|  | 主方位+180&+270 | 1-1 | house_psi_length_3vww_D180D270 [1-1] | [6 empty] | m
|  |  | 1-2 | house_psi_length_3vww_D180D270 [1-2] | [6 empty] | m
|  |  | 1-3 | house_psi_length_3vww_D180D270 [1-3] | [6 empty] | m
|  |  | 1-4 | house_psi_length_3vww_D180D270 [1-4] | [6 empty] | m
|  |  | 2-1 | house_psi_length_3vww_D180D270 [2-1] | [6 empty] | m
|  |  | 2-2 | house_psi_length_3vww_D180D270 [2-2] | [6 empty] | m
|  |  | 2-3 | house_psi_length_3vww_D180D270 [2-3] | [6 empty] | m
|  |  | 2-4 | house_psi_length_3vww_D180D270 [2-4] | [6 empty] | m
|  |  | 3-1 | house_psi_length_3vww_D180D270 [3-1] | [6 empty] | m
|  |  | 3-2 | house_psi_length_3vww_D180D270 [3-2] | [6 empty] | m
|  |  | 3-3 | house_psi_length_3vww_D180D270 [3-3] | [6 empty] | m
|  |  | 3-4 | house_psi_length_3vww_D180D270 [3-4] | [6 empty] | m
| 熱橋長さ 3 h w-r | 主方位top&+0 | 1-1 | house_psi_length_3hwr_topD0 [1-1] | [6 empty] | m
|  |  | 1-2 | house_psi_length_3hwr_topD0 [1-2] | [6 empty] | m
|  |  | 1-3 | house_psi_length_3hwr_topD0 [1-3] | [6 empty] | m
|  |  | 1-4 | house_psi_length_3hwr_topD0 [1-4] | [6 empty] | m
|  |  | 2-1 | house_psi_length_3hwr_topD0 [2-1] | [6 empty] | m
|  |  | 2-2 | house_psi_length_3hwr_topD0 [2-2] | [6 empty] | m
|  |  | 2-3 | house_psi_length_3hwr_topD0 [2-3] | [6 empty] | m
|  |  | 2-4 | house_psi_length_3hwr_topD0 [2-4] | [6 empty] | m
|  |  | 3-1 | house_psi_length_3hwr_topD0 [3-1] | [6 empty] | m
|  |  | 3-2 | house_psi_length_3hwr_topD0 [3-2] | [6 empty] | m
|  |  | 3-3 | house_psi_length_3hwr_topD0 [3-3] | [6 empty] | m
|  |  | 3-4 | house_psi_length_3hwr_topD0 [3-4] | [6 empty] | m
| 熱橋長さ 3 h w-f | 主方位bottom&+0 | 1-1 | house_psi_length_3hwf_bottomD0 [1-1] | [6 empty] | m
|  |  | 1-2 | house_psi_length_3hwf_bottomD0 [1-2] | [6 empty] | m
|  |  | 1-3 | house_psi_length_3hwf_bottomD0 [1-3] | [6 empty] | m
|  |  | 1-4 | house_psi_length_3hwf_bottomD0 [1-4] | [6 empty] | m
|  |  | 2-1 | house_psi_length_3hwf_bottomD0 [2-1] | [6 empty] | m
|  |  | 2-2 | house_psi_length_3hwf_bottomD0 [2-2] | [6 empty] | m
|  |  | 2-3 | house_psi_length_3hwf_bottomD0 [2-3] | [6 empty] | m
|  |  | 2-4 | house_psi_length_3hwf_bottomD0 [2-4] | [6 empty] | m
|  |  | 3-1 | house_psi_length_3hwf_bottomD0 [3-1] | [6 empty] | m
|  |  | 3-2 | house_psi_length_3hwf_bottomD0 [3-2] | [6 empty] | m
|  |  | 3-3 | house_psi_length_3hwf_bottomD0 [3-3] | [6 empty] | m
|  |  | 3-4 | house_psi_length_3hwf_bottomD0 [3-4] | [6 empty] | m
| 熱橋長さ 1 h w-uf | 主方位bottom&+0 | 1-1 | house_psi_length_1hwuf_bottomD0 [1-1] | [6 empty] | m
|  |  | 1-2 | house_psi_length_1hwuf_bottomD0 [1-2] | [6 empty] | m
|  |  | 1-3 | house_psi_length_1hwuf_bottomD0 [1-3] | [6 empty] | m
|  |  | 1-4 | house_psi_length_1hwuf_bottomD0 [1-4] | [6 empty] | m
|  |  | 2-1 | house_psi_length_1hwuf_bottomD0 [2-1] | [6 empty] | m
|  |  | 2-2 | house_psi_length_1hwuf_bottomD0 [2-2] | [6 empty] | m
|  |  | 2-3 | house_psi_length_1hwuf_bottomD0 [2-3] | [6 empty] | m
|  |  | 2-4 | house_psi_length_1hwuf_bottomD0 [2-4] | [6 empty] | m
|  |  | 3-1 | house_psi_length_1hwuf_bottomD0 [3-1] | [6 empty] | m
|  |  | 3-2 | house_psi_length_1hwuf_bottomD0 [3-2] | [6 empty] | m
|  |  | 3-3 | house_psi_length_1hwuf_bottomD0 [3-3] | [6 empty] | m
|  |  | 3-4 | house_psi_length_1hwuf_bottomD0 [3-4] | [6 empty] | m
|  | 主方位bottom&+90 | 1-1 | house_psi_length_1hwuf_bottomD90 [1-1] | [6 empty] | m
|  |  | 1-2 | house_psi_length_1hwuf_bottomD90 [1-2] | [6 empty] | m
|  |  | 1-3 | house_psi_length_1hwuf_bottomD90 [1-3] | [6 empty] | m
|  |  | 1-4 | house_psi_length_1hwuf_bottomD90 [1-4] | [6 empty] | m
|  |  | 2-1 | house_psi_length_1hwuf_bottomD90 [2-1] | [6 empty] | m
|  |  | 2-2 | house_psi_length_1hwuf_bottomD90 [2-2] | [6 empty] | m
|  |  | 2-3 | house_psi_length_1hwuf_bottomD90 [2-3] | [6 empty] | m
|  |  | 2-4 | house_psi_length_1hwuf_bottomD90 [2-4] | [6 empty] | m
|  |  | 3-1 | house_psi_length_1hwuf_bottomD90 [3-1] | [6 empty] | m
|  |  | 3-2 | house_psi_length_1hwuf_bottomD90 [3-2] | [6 empty] | m
|  |  | 3-3 | house_psi_length_1hwuf_bottomD90 [3-3] | [6 empty] | m
|  |  | 3-4 | house_psi_length_1hwuf_bottomD90 [3-4] | [6 empty] | m
|  | 主方位bottom&+180 | 1-1 | house_psi_length_1hwuf_bottomD180 [1-1] | [6 empty] | m
|  |  | 1-2 | house_psi_length_1hwuf_bottomD180 [1-2] | [6 empty] | m
|  |  | 1-3 | house_psi_length_1hwuf_bottomD180 [1-3] | [6 empty] | m
|  |  | 1-4 | house_psi_length_1hwuf_bottomD180 [1-4] | [6 empty] | m
|  |  | 2-1 | house_psi_length_1hwuf_bottomD180 [2-1] | [6 empty] | m
|  |  | 2-2 | house_psi_length_1hwuf_bottomD180 [2-2] | [6 empty] | m
|  |  | 2-3 | house_psi_length_1hwuf_bottomD180 [2-3] | [6 empty] | m
|  |  | 2-4 | house_psi_length_1hwuf_bottomD180 [2-4] | [6 empty] | m
|  |  | 3-1 | house_psi_length_1hwuf_bottomD180 [3-1] | [6 empty] | m
|  |  | 3-2 | house_psi_length_1hwuf_bottomD180 [3-2] | [6 empty] | m
|  |  | 3-3 | house_psi_length_1hwuf_bottomD180 [3-3] | [6 empty] | m
|  |  | 3-4 | house_psi_length_1hwuf_bottomD180 [3-4] | [6 empty] | m
|  | 主方位bottom&+270 | 1-1 | house_psi_length_1hwuf_bottomD270 [1-1] | [6 empty] | m
|  |  | 1-2 | house_psi_length_1hwuf_bottomD180 [1-2] | [6 empty] | m
|  |  | 1-3 | house_psi_length_1hwuf_bottomD180 [1-3] | [6 empty] | m
|  |  | 1-4 | house_psi_length_1hwuf_bottomD180 [1-4] | [6 empty] | m
|  |  | 2-1 | house_psi_length_1hwuf_bottomD180 [2-1] | [6 empty] | m
|  |  | 2-2 | house_psi_length_1hwuf_bottomD180 [2-2] | [6 empty] | m
|  |  | 2-3 | house_psi_length_1hwuf_bottomD180 [2-3] | [6 empty] | m
|  |  | 2-4 | house_psi_length_1hwuf_bottomD180 [2-4] | [6 empty] | m
|  |  | 3-1 | house_psi_length_1hwuf_bottomD180 [3-1] | [6 empty] | m
|  |  | 3-2 | house_psi_length_1hwuf_bottomD180 [3-2] | [6 empty] | m
|  |  | 3-3 | house_psi_length_1hwuf_bottomD180 [3-3] | [6 empty] | m
|  |  | 3-4 | house_psi_length_1hwuf_bottomD180 [3-4] | [6 empty] | m
| 熱橋長さ 2 h uf | 主方位bottom | 1-1 | house_psi_length_2huf_bottom [1-1] | [6 empty] | m
|  |  | 1-2 | house_psi_length_2huf_bottom [1-2] | [6 empty] | m
|  |  | 1-3 | house_psi_length_2huf_bottom [1-3] | [6 empty] | m
|  |  | 1-4 | house_psi_length_2huf_bottom [1-4] | [6 empty] | m
|  |  | 2-1 | house_psi_length_2huf_bottom [2-1] | [6 empty] | m
|  |  | 2-2 | house_psi_length_2huf_bottom [2-2] | [6 empty] | m
|  |  | 2-3 | house_psi_length_2huf_bottom [2-3] | [6 empty] | m
|  |  | 2-4 | house_psi_length_2huf_bottom [2-4] | [6 empty] | m
|  |  | 3-1 | house_psi_length_2huf_bottom [3-1] | [6 empty] | m
|  |  | 3-2 | house_psi_length_2huf_bottom [3-2] | [6 empty] | m
|  |  | 3-3 | house_psi_length_2huf_bottom [3-3] | [6 empty] | m
|  |  | 3-4 | house_psi_length_2huf_bottom [3-4] | [6 empty] | m